DEPARTMENT OF HEALTH

The Assistant Director, Radiation Control, PO Box 977, Pretoria 0001,

(012) 3959121 / 3959122, Fax no (012) 3959125

Civitas Building, c/o Andries & Struben Street, North Tower, Podium Level, Rooms NP28 - NP47

APPLICATION FOR A LICENCE IN TERMS OF THE HAZARDOUS SUBSTANCES ACT, 1973

(Act 15 of 1973) TO USE AN X-RAY DEVICE.

NOTE:  ALLOW 30 DAYS FOR ADMINISTRATION

For office use only

File no.

Licence no.

# 1.	PARTICULARS OF APPLICANT

| Name and postal address of individual or organisation |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Postcode |
|  | Fax no. |  |  |  |  | Email |  |  |
| Name and postal address of contact person (If different from above) |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Postcode |
|  Cell |  |  |  | Fax no. |  |  | Email |  |
| Do you have any other licence(s) |  | Yes | No |  | If yes, state licence no. |  |  |  |

# 2.	RESPONSIBLE PERSON

| Surname | Title |  |  | Initials | ID no. |  |
| --- | --- | --- | --- | --- | --- | --- |
| Address |  |  |  |  |  |  |
| Experience regarding radiation protection |  |  |  |  |  |  |
| Designation |  |  | Qualification |  |  |  |
| I am aware of my duties as responsible person |  | Signature |  |  |  | Date |

# 3.	PARTICULARS OF PERSON (S) WHO WILL OPERATE THE UNIT (Indicate with X)

Note: Medical x-ray examinations may only be performed by appropriately trained persons registered with the HPCSA / AHPCSA in the category: Radiography and / or Radiology.

| Category | Qualification |  |  |  |
| --- | --- | --- | --- | --- |
| Radiography | Diagnostic | Supplementary | Industrial |  |
| Medical | General Practitioner | Radiologist | Other Specialist |  |
| Dental | Dentist | Specialist | Dental Therapist | Oral Hygienist |
| Veterinary | Veterinarian | Veterinary Nurse |  |  |
| Chiropractic | Chiropractor |  |  |  |
| Non-medical |  |  |  |  |

4	DETAILS OF X-RAY EQUIPMENT

4.1	Details of X-ray Generator

| Brandname |  | Model |
| --- | --- | --- |
| Year of manufacture | Generator serial no. |  |
| Number of tubes attached to generator |  |  |

4.2.	Details of X-Ray System / Unit

| Brandname |  | Model |
| --- | --- | --- |
| Year of manufacture | System/Unit serial no. |  |

5.	TECHNIQUE FACTORS

| Peak tube potential……...kV | Maximum mA…….at 100kV | Maximum exposure time……s OR ……….mAs |
| --- | --- | --- |
| Activities envisaged / Type of examination(s) or investigation(s) which will be performed.............................................. .......................................................................................................................................................................................... |  |  |

# 6.	generic description

State the generic code of the product as found on the attached list (see page 4)

# 7.	Image Processing

Indicate type of image processing (mark with X) Wet ( ) CR ( ) DDR ( )

# 8.	PARTICULARS OF PREMISES

| Address - General (i.e. block, floor, room, vehicle reg. no.) |  |  |
| --- | --- | --- |
| Section | Street |  |
| Building |  |  |
| Suburb |  | Postal code |

# 9.	TYPE OF INSTALLATION (please complete EITHER section 9.1 or 9.2)

## 9.1	Enclosed installation (X-ray equipment which is installed and used within the same enclosure or room.)

Please attach a diagram or plan indicating the appropriate enclosure or room with special reference to: (a) The normal location of the x-ray tube; the direction and extent of x-ray tube movement; general direction(s) of the useful beam; locations of any windows and doors; the location of the operator's booth; and the location of the x-ray control panel. (b) The structural composition and thickness (1/2 brick thickness) or lead equivalent of all walls, doors, partitions, floor, and ceiling of the room(s) concerned. (c) The dimensions of the room(s) concerned. (d) The type of occupancy of all adjacent areas inclusive of space above and below the room(s) concerned. If there is an exterior wall, show distance to the closest area(s) where it is likely that individuals may be present.

## 9.2	Open installation

State why an enclosed installation is not likely to be practicable. (e.g. Mobile / Portable X-ray equipment) ..........................................................................................................................................................................................

# 10.	DETAILS OF PERSON/COMPANY FROM WHOM X-RAY DEVICE WAS OBTAINED

## 10.1	Dealer

| New | Refurbished |  | Pre-owned | Sales licence number |  |
| --- | --- | --- | --- | --- | --- |
| Name and postal address |  |  |  |  |  |
| Contact Person |  |  |  |  |  |
|  |  | Fax |  |  | Email |

## 10.2	Previous user

| Name and postal address |  |  |
| --- | --- | --- |
| Contact Person |  |  |
|  | Fax | User's licence number |
| State the reason if licence number is unavailable……………………………………………………………………………… .......................................................................................................................................................................................... |  |  |

# 11.	DETAILS OF PERSON/COMPANY THAT WILL INSTALL THE X-RAY DEVICE (INSTALLER)

| Name and postal address |  |  |
| --- | --- | --- |
|  | Fax no | Email |

# 12.	DETAILS OF inspection body (ib) THAT WILL Do acceptance tests

Company Name SANAS Ref. No. XRAY________

# 13.	DOSIMETRY SERVICE

Name of dosimetry service that will be made use of

# 14.	DECLARATION BY THE APPLICANT

| I, (PLEASE PRINT)...................................................................................... hereby declare that the information supplied is to the best of my knowledge true and correct. |  |
| --- | --- |
| Signature | Date |
| Designation |  |

For office use only

Classification of user

Conditions

Comments....................................................................................................................................................................................................…………… ........................................................................................................................................................................................................................……………

Inspected by................................... (code) on

Checked by.................................... (code) on

Generic codes for listed x-ray devices

Medical diagnostic electronic products

| Type of unit | Generic code | Type of unit | Generic code |
| --- | --- | --- | --- |
| Rad units general purpose - Table/Erect bucky | M010 | RAD/FLUOR general purpose - remote digital | M081d |
| Rad units general purpose - Table/Erect bucky - digital | M010D | RAD/FLUOR general purpose - mobile | M082 |
| Rad units general purpose - Compact systems | M020 | RAD/FLUOR general purpose - mobile digital | M082D |
| Rad units general purpose - Compact systems - digital | M020D | RAD/FLUOR general purpose – mini mobile | M082M |
| Rad units chest - dedicated | M030 | RAD/FLUOR general purpose - portable | M082P |
| Rad units chest - mass mini | M031 | RAD/FLUOR spec proc – robotic arm | M082R |
| Rad units chest - mass mini and general | M031G | RAD/FLUOR general purpose – mobile O-arm | M082O |
| Rad units chest - digital | M032 | RAD/FLUOR spec proc - angiographic | M090 |
| Rad units dental - intra oral | M040 | RAD/FLUOR spec proc - angiographic digital | M090D |
| Rad units dental - intra oral - digital | M040D | RAD/FLUOR spec proc - cardiac | M091 |
| Rad units dental - intra oral - portable | M040P | RAD/FLUOR spec proc - cardiac digital | M091D |
| Rad units dental - pan | M041 | RAD/FLUOR spec proc - urology | M092 |
| Rad units dental - pan - digital | M041D | RAD/FLUOR spec proc - urology digital | M092D |
| Rad units dental - pan & ceph | M041C | CT scanner | M100 |
| Rad units dental – pan – 3D | M044 | PET CT scanner | M101 |
| Rad units dental - pan CT | M042 | Spect scanner | M102 |
| Rad units dental - dental CT | M043 | CT Scanner: Mobile | M103 |
|  |  | CT Scanner: Extremities | M104 |
| Rad units mammographic | M050 | Lithotripter | M120 |
| Rad units mammographic - digital | M050D | Absorptiometers (bone densitometer) | M130 |
| Rad units mobile - conventional | M060 | Radiotherapy simulator | M140 |
| Rad units mobile – conventional - digital | M060D | CT simulator | M140C |
| Rad units mobile - conventional fixed | M060F | Whole Body Scanner - medical | M147 |
| Rad units mobile – CDU | M061 | Radiotherapy verification | M148 |
| Rad units mobile – CDU fixed | M061F | CR Unit | M0CR |
| Rad units mobile - battery powered | M062 |  |  |
| Rad units mobile - battery powered - digital | M062D |  |  |
| Rad units - portable | M063 |  |  |
| Rad units – portable restricted | M063DR |  |  |
| Rad units - student training | M064 |  |  |
| Rad Tomographic - Dedicated | M070 |  |  |
| RAD/FLUOR general purpose | M080 |  |  |
| RAD/FLUOR general purpose - remote | M081 |  |  |

Non-medical electronic products

| Type of unit | Generic code | Type of unit | Generic code |
| --- | --- | --- | --- |
| Luggage, mail and other articles inspection unit - conveyor belt | NM010 | Diffractometer | NM070 |
| Luggage and mail inspection unit - cabinet | NM011 | Spectrometer | NM071 |
| Luggage and mail inspection unit - portable | NM012 | Electron Microscope | NM072 |
| Inspection of cargo contents | NM013 | Automatic particle size analyser | NM073 |
| Inspection: Packaging and food | NM014 | X-Ray Fluorescence (XRF) - Portable | NM074 |
| Luggage and mail inspection unit - mobile | NM015 | Electron Probe | NM075 |
| Inspection of cargo contents – mobile | NM016 | Inspection: CT Scanner | NM076 |
| Inspection: Vehicle & contents | NM017 | Bench top analyser | NM077 |
| Inspection: Portable Digital | NM018 | X-Ray Fluorescence (XRF) | NM078 |
| Inspection: Cargo – Linear Accelerator | NM019 | Analyser – Isotope based | NM079 |
| Industrial radiography unit | NM020 | X-ray apparatus for student experiments | NM200 |
| Fixed industrial FLUOR unit (Realtime) | NM021 | Research (animal laboratory) | NM201 |
| Mobile industrial FLUOR unit (Realtime) | NM022 | Van de Graaff accelerator | NM202 |
| Cabinet unit to verify integrated circuits | NM023 | Accelerator for industrial sterilisation purposes | NM203 |
| Industrial radiography unit – portable / mobile | NM024 | Thickness gauge | NM210 |
| Cabinet unit – Radioscopic Inspection | NM025 | Level gauge | NM211 |
| Colour monitors | NM030 | Inspection of food and pharmaceuticals for contaminants | NM212 |
| Colour monitors - other | NM031 | Electron welding machine | NM220 |
| Diamond sorting unit | NM040 | Rad units - veterinary | NM230 |
| Sorting unit | NM041 | Rad/fluo units - veterinary | NM231 |
| Neutron generator | NM050 | Rad units – veterinary - portable | NM232 |
| Scanning people - Transmission | NM060 | CT Scanner - veterinary | NM233 |
| Scanning people - Backscatter | NM061 | Rad units – veterinary – dental - portable | NM234 |
|  |  | Rad units – veterinary - digital | NM235 |
| CR Unit – Veterinary use | NM0CR | Ion implantation unit | NM240 |
|  |  | X-ray system for detonators | NM250 |
|  |  | RAD/FLUOR forensic medicine mobile | NM260 |
|  |  | Whole body scanner - forensic | NM261 |

 DOH Guidelines documents: http://www.doh.gov.za/department/radiation/01.html Licensing Licence Conditions Code - users of medical x-ray equipment  Pt. 4